## NOTES
NOTES:
The attached worksheets list the commands used to communicate with the On-Board Network Terminal and with the On-Board cryopump module. These were taken from published Helix manuals available on the Helix web site. They are belived to represent the most-current version which is being used by AMAT. These manuals are copyrighted, so no wording should be copied into SHI-APD manuals or literature to be used by customers.
Pump commands are sent through the Network Terminal. Commands intended for the terminal itself begin with $Nxx..where xx indicates the network terminal number from 00 to 19, default value is 00. Pump commands begin with $Pxx… where xx indicates the pump number from 0 to 20.
Commands are constructed from a string of ASCII characters. The first character is a $, the last character is a Cariage Return.
Approximately 20-25 commands for the Network terminal and 20-25 commands for the pump modules must be interpreted and responded to with a valid response. In some cases, the response may be a fixed value, rather than a measured or computed value, which allows the host software to continue without generating a communication error.
The PARSER page contains the algorithm for generating the full ASCII command string for a desired function. It generates the "checksum" character. The calculation of the checksum character is normally done in software using the XOR (exclusive or) logical function. In this Excel worksheet, the logical functions are simulated with standard Excel functions.
The VARIABLES page contains a preliminary list of variable names to be used for programming. This list is not yet complete but contains most of the variables needed for individual pumps.
prepared by Gary Ash, April 17,2003
updated April 30, 2003
Events and Properties added 8/6/03
Updated by G. Ash, Jan 3, 2016

## Parser
PARSER for On-Board cryopump command set
CHARACTER NUMBER
| Enter up to 14 characters | LENGTH= | 2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | SUM
PUMP MODULE DIRECT |  |  | CHAR | A | 1
| DESIRED COMMAND: $ | A1 | HEX | 41 | 31
|  |  | BIN | 1000001 | 110001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DEC | 65 | 49 | [12 empty] | 114 | Decimal sum
[6 empty] | Decimal sum Mod 256 | 114
| FINAL OUTPUT STRING | $A1c C/R |  |  | BIN SUM (mod256)= |  | 01110010
|  |  |  | LSB | D0 | 0 | 0
[5 empty] | D1 | 1 | 1
[5 empty] | D6 | 1 | 1
| C/R = carriage return (dec=13) |  |  | MSB | D7 | 0 | 0
| [no actual space before C/R] |  |  |  | New D0 | 1 | 1
[5 empty] | New D1 | 1 | 1
[5 empty] | D2 to D5 | 1100
[5 empty] | New binary | 110011 | 110011
[5 empty] | New Hex |  | 33
[5 empty] | New Dec |  | 51
[5 empty] | Shifted Dec |  | 99
[5 empty] | Shifted Hex |  | 63
[5 empty] | Checksum char |  | c
PUMP MODULE VIA Network Terminal
| Enter up to 14 characters | LENGTH= | 5 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | SUM
|  |  | CHAR | P | 0 | 1 | A | 1
| DESIRED COMMAND: $ | P01A1 | HEX | 50 | 30 | 31 | 41 | 31
|  |  | BIN | 1010000 | 110000 | 110001 | 1000001 | 110001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DEC | 80 | 48 | 49 | 65 | 49 | [9 empty] | 291 | Decimal sum
[6 empty] | Decimal sum Mod 256 | 35
| FINAL OUTPUT STRING | $P01A1S C/R |  |  | BIN SUM (mod256)= |  | 00100011
| Pump commands always begin $Pxx… (xx=00-19) |  |  | LSB | D0 | 1 | 1
|  | Assume P01 |  |  | D1 | 1 | 1
| Network commands begin $N… |  |  |  | D6 | 0 | 0
| C/R = carriage return (dec=13) |  |  | MSB | D7 | 0 | 0
| [no actual space before C/R] |  |  |  | New D0 | 1 | 1
[5 empty] | New D1 | 1 | 1
[5 empty] | D2 to D5 | 1000
[5 empty] | New binary | 100011 | 100011
[5 empty] | New Hex |  | 23
[5 empty] | New Dec |  | 35
[5 empty] | Shifted Dec |  | 83
[5 empty] | Shifted Hex |  | 53
[5 empty] | Checksum char |  | S
NETWORK TERMINAL
| Enter up to 14 characters | LENGTH= | 7 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | SUM
|  |  | CHAR | N | l | A | W | o | w | !
| DESIRED COMMAND: $ | NlAWow! | HEX | 4E | 6C | 41 | 57 | 6F | 77 | 21
|  |  | BIN | 1001110 | 1101100 | 1000001 | 1010111 | 1101111 | 1110111 | 100001 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DEC | 78 | 108 | 65 | 87 | 111 | 119 | 33 | [7 empty] | 601 | Decimal sum
[6 empty] | Decimal sum Mod 256 | 89
| FINAL OUTPUT STRING | $NlAWow!H C/R | l: BIN SUM (mod256)=; W: 01011001
| Network commands always begin $Nxx… (xx=00-19) |  | N: LSB; l: D0; A: 1; W: 1
|  | Assume N00 | l: D1; A: 0; W: 0
Pump commands begin $Pxx… | bar: l to W
| C/R = carriage return (dec=13) |  | N: MSB; l: D7; A: 0; W: 0
| [no actual space before C/R] |  | l: New D0; A: 0; W: 0
[5 empty] | New D1 | 0 | 0
[5 empty] | D2 to D5 | 0110
[5 empty] | New binary | 011000 | 11000
[5 empty] | New Hex |  | 18
[5 empty] | New Dec |  | 24
[5 empty] | Shifted Dec |  | 72
[5 empty] | Shifted Hex |  | 48
[5 empty] | Checksum char |  | H

## Pump Module
Not in current software libraries
PUMP MODULE COMMANDS |  |  |  |  | All commands begin with $Pxx… |  |  |  | Partially completed in current software libraries
(NOTE: From On-Board FastRegen Control Module Manual, p/n 8040406, Rev 100, Sept. 2001) | [8 empty] | Exists in current software libraries
Need for AMJ eval? Y=yes, ?=maybe | Numeric | ASCII | HEX | PARAM | COMMENTS | EXAMPLE OF COMMAND | EXAMPLE OF RESPONSE |  | PROPERTY | Notes
| 000 | NUL | 00
| 001 | SOH | 01
| 002 | STX | 02
| 003 | ETX | 03
| 004 | EOT | 04
| 005 | ENQ | 05
| 006 | ACK | 06
| 007 | BEL | 07
| 008 | BS | 08
| 009 | HT | 09
| 010 | LF | 0A
| 011 | VT | 0B
| 012 | FF | 0C
| 013 | CR | 0D
| 014 | SO | 0E
| 015 | SI | 0F
| 016 | DLE | 10
| 017 | DC1 | 11
| 018 | DC2 | 12
| 019 | DC3 | 13
| 020 | DC4 | 14
| 021 | NAK | 15
| 022 | SYN | 16
| 023 | ETB | 17
| 024 | CAN | 18
| 025 | EM | 19
| 026 | SUB | 1A
| 027 | ESC | 1B
| 028 | FS | 1C
| 029 | GS | 1D
| 030 | RS | 1E
| 031 | US | 1F
| 032 | SP | 20
| 033 | ! | 21
| 034 | " | 22
| 035 | # | 23
| 036 | $ | 24
| 037 | % | 25
| 038 | & | 26
| 039 | ' | 27
| 040 | ( | 28
| 041 | ) | 29
| 042 | * | 2A
| 042 | + | 2B
| 044 | , | 2C
| 045 | - | 2D
| 046 | . | 2E
| 047 | \ | 2F
| 048 | 0 | 30
| 049 | 1 | 31
| 050 | 2 | 32
| 051 | 3 | 33
| 052 | 4 | 34
| 053 | 5 | 35
| 054 | 6 | 36
| 055 | 7 | 37
| 056 | 8 | 38
| 057 | 9 | 39
| 058 | : | 3A
| 059 | ; | 3B
| 060 | < | 3C
| 061 | = | 3D
| 062 | > | 3E
| 063 | ? | 3F
| 064 | @ | 40 |  | gets module type and software rev info | $P01@b | $APG02.23> | $@1 | AnsiString Pumps[X]->ModuleVersion | Checksum failure analysis
Y | 065 | A | 41 | 0-1, ? | pump OFF/ON, status | $P01A1S | $A0 |  | bool Pumps[X]->PumpOn
Y | 066 | B | 42 | 0-1, ? | Pump TC OFF/ON, status | $P01B?b | $A0` |  | Always on (read only) | Customer should not be allowed to toggle the VacCG On/Off this could interfere with proper program process.
| 067 | C | 43 | 0-1, ? | AUX TC OFF/ON, status | $P01C?c | $A0` |  | Always returns zero (read only) | Customer should not be allowed to toggle the VacCG On/Off this could interfere with proper program process.
? | 068 | D | 44 | 0-1, ? | CLOSE/OPEN rough valve, status | $P01D?d | $A0` |  | enum Pumps[X]->LastRoughPosition
? | 069 | E | 45 | 0-1, ? | CLOSE/OPEN purge valve, status | $P01E?e | $A0` |  | enum Pumps[X]->LastPurgePosition
| 070 | F | 46 | 0-1, ? | [unknown function;undocumented] Believed to turn 1st stage heater function on and off ??? | $P01F?f $F1f | $A0` $A0
| 071 | G | 47 | 0-1, ? | [unknown function;undocumented] Believed to turn 2nd stage heater function on and off ??? | $P01G?g $G1i | $A0` $A0
Y | 072 | H | 48 | 0-320, ? | Sets temp control of 1st stage; 0 = "off" | $P01H?h $P01H80P | $A+000065E $A0 |  | double Pumps[X]->CoolingTemp (read only) | Customer should not be allowed to change the preset first stage temperature setpoint.
| 073 | I | 49 | 0-30, ? | Sets temp control of 2nd stage; 0= "off" -undocumented | $P01I?i $P01I20M | $A+000000> $A0 |  | Always returns '0' (read only) | This is only used in emergency and cooldown conditions. Customer should not be allowed to change the preset second stage temperature setpoint.
Y | 074 | J | 4A | none | sends back 1st stage temp | $P01Jh | $A+0295.1I |  | double Pumps[X]->T1
Y | 075 | K | 4B | none | sends back 2nd stage temp | $P01Ko | $A+0294.7R |  | double Pumps[X]->T2
Y | 076 | L | 4C | none | send back pump TC pressure | $P01Ln | $A+2840.3I |  | double Pumps[X]->Torr
| 077 | M | 4D | none | send back AUX TC pressure | $P01Mm | $A+2757.9Z |  | double Pumps[X]->Hz
Y | 078 | N | 4E | 0-2 | 0=abort, 1=start regen, 2=start fast regen | $P01N1` $N0o | $A0 |  | enum Pumps[X]->RunMode
? | 079 | O | 4F | none | sends back current regen step SEE REGEN RESPONSE PAGE FOR DETAILS | $P01O0 | $A]L ( = pump in warm-up stage) |  | if RunMode is in regeneration step returned is warmup 'B'. If RunMode is in rough step return is roughing 'I'. If RunMode is cooling step return is cooling 'M'. | We can't cover all steps. If the customer's program watches the stepping of the regen response to control program flow this is a potential show stopper.
Y | 080 | P | 50 | 0-6,A,G,S, 5-digit number, ? | sets or reads regen parameters 0=pump restart delay, 0-59994 min 1=extended purge time, 0-9999 min 2=repurge cycles, 0-20 3=rough base pressure, 25-500 microns 4=rate of rise, 1-100 micron/min 5=ROR cycles, 0-40 6=power fail recover temp, 0-80 K A=clear/set rough valve interlock, 0-1 G=repurge time, 0-9999 min S=fast rough test, 10-999 micron | $P01P130G $P01P1?` | $A0 $A+30< | $P030002 $P130W $P220W $P350[ $P410V $P520T $P625^ $PA11 $PA02 $PG5? | struct Pumps[X]->RegenParams {0=Restart delay to TDateTime up to 40 days delay TDateTime Pumps[X]->RestartDelay,1=int ExtPurgeTime,2=Return 0 (read only),3=double Pumps[X]->MinRunPres*100,4=Return 0(read only),5=Return 0(read only),6=double Pumps[X]->T2MinRunTemp (read only),A=bool Pumps[X}->RoughInterlock, G=return 0(read only), S=return 999 (read only)} | We don't cover all these with our system and the ones we don't support are read only values
Y | 081 | Q | 51 | none, ? | Rough valve interlock; Bit 0 ON(1): pump has token; Bit 1 ON(2): pump needs token; Bit 2 ON(4): pump is ON for auto-compressor on. Values 0-7 OK. Fast regen pumps add Bit 3 always ON(8) to alert for 2nd byte: Then values 8-F are OK for 1st character, 0-1 for 2nd. Bit 0 ON(1)= pump needs rough valve for shared Fast regen. | $P01Q?0 $Q@ $Q?B | $A80[ $A0 $A90X | $Q@ $Q?B | Test Pumps[X]->LastRoughPosition to determine bit 0. Test Pumps[X]->WaitingRough to detemine bit 1. Bit 2 is always true and Bit 3 is always true. Bit 0 of the second byte in our system is always false. We don't share the rough pump for fast regenerations.
| 082 | R | 52 | 0-3 | UNDOCUMENTED R0=pump TC volts, R1= Aux TC volts R2=T1 volts, R3=T2 volts | $R11 $R26 $R37 | $-00.029E $A+2.1474N $A+2.1474N
Y | 083 | S | 53 | 1-3 | Sends back status indicators Status 1 01H=pump ON 02H=rough valve ON 04H=purge valve ON 08H=cryo TC ON 10H=Aux TC ON 20H=power fail status; 0=power fail occurred, bit reset to 1 after first S1 query and $B response resets to $A. Status 2 01H = Setpoint 1 ON 02H = Setpoint 2 ON 08H = 1st stage temp control ON Status 3 01H = Pump phase 1 check 02H = Pump phase 2 check | $S16 | $AdW, $A`S $AH; $AD7 |  | Pump On Found with Pumps[X]->PumpOn; Rough Valve found with Pumps[X]->LastRoughPosition; Purge Valve found with Pumps[X]->LastPurgePosition, CryoTC is always on, AuxTC is always off, PowerFailure status (how to determine this?), Setpoint 1 & 2 determined by Pumps[X]->ControlPoint, 1st Stage temp control on always true; Status 3 Phase 1 and 2 always good. | We don't have AuxTC.
| 084 | T | 54 | 1-2 0-8,ABCF 4 digit number ?,0,1,2,8 | Programs setpoint relay 1 or 2 sets or reads values 0=set 1st stage LL, 0-9999 K 1=set 1st stage UL, 0-9999 K 2=set 2nd stage LL, 0-9999 K 3=set 2nd stage UL, 0-9999 K 4=set pump TC LL, 0-9999 microns 5=set pump TC UL, 0-9999 microns 6=set Aux TC LL, 0-9999 microns 7=set Aux TC UL, 0-9999 microns 8=set time relay, 0-9999 seconds A=set unconditional ON B=set unconditional OFF C=set as Regen tracking relay (ON during regen) D=set as rough valve tracking relay F=set as pump motor ON/OFF tracking relay Selector meaning for query form 0=query previously set LL 1=query previously set UL 4=query last sent form selectro for relay function 8=query relay time delay | $P01T10300j $P01T1?0W $P01T18987F $P01T1?8_ | $A0 $A+000300= $A0 $A+000987V |  | {All Pumps[X]} int Relay1LoSetpnt int Relay1HiSetpnt int Relay2LoSetpnt int Relay2HiSetpnt TDateTime Relay1TimeDelay TDateTime Relay2TimeDelay bool Relay1Auto bool Relay2Auto enum Relay1Control enum Relay2Control
| 085 | U | 55 | 1-9, ? | gets or writes diode millivolts vs temperature U1 is coldest temp, U9 is warmest. Temps are 11, 15, 17, 19, 21, 25, 45, 77.4, 290K. Range is ~1400mV at 11K to ~390mV at 290K. | $U9?> $U113981> $U1?6 | $A+3906n $A0 $A+13981c
| 086 | V | 56 | A?, Q? A,Q D, D? C, C? | VA? gets 1st 8 characters of pump serial #. VQ? Gets remaining 3 characters of pump serial # A,Q set serial number (8 char each) sets, gets pump name [may set, get 1st stage diode serial number] | $P01VANE963750I $P01VQ4> $P01VA? $P01VQ?E $P01VD?8 $VC?K | $A0 $A0 $ANE963750B $A4 D $AAPD-02 V $AD0033255T |  | AnsiString Pumps[X]->RomID Strip the first 3 characters and last 2 characters. This is the total 11 character serial number.
| 087 | W | 57 |  | Gets memory error code from initialization @=no errors Bit 0=diode data Bit 1=regen parameters Bit 2=history data | $P01W8 | $A@3 |  | Always returns okay '@' | We don't have diode data in memory or regen parameters or historical data. Any items in memory are safeguarded. Or would inhibit the program from operation.
| 088 | X | 58 |  | unknown. No response to $X, $X?, or $X1?
| 089 | Y | 59 | ?, 0-65535 | gets or sets elapsed operating hours, 0-65535 | $P01Y?8 $P01Y0j $P01Y?8 | $A+002330F $A0 $A+000000> |  | double Pumps[X]->ElapsedOperatingTime (read only) | Customer should not be allowed to touch the operating hours count. This is a warranty issue.
| 090 | Z | 5A | ?,0-999 | gets (or sets )number of Regen cycles completed | $P01Z?; | $A+36F |  | int Pumps[X]->RegenCyclesCompleted (read only) | Customer should have no need to touch this variable.
| 091 | [ | 5B | B1,B2 | restore relays to automatic settings from manual override mode | $P01[B1n | $A0 |  | Link to write Relay1Control, Relay2Control bool
| 092 | \ | 5C
| 093 | ] | 5D
| 094 | ^ | 5E
| 095 | _ | 5F
| 096 | ` | 60
Y | 097 | a | 61 | none or 2 | a=how long since last full regen (0-65000) a2=how long since last fast regen (in hours) | $P01aB $P01a25 | $A+18F $A+18F |  | TDateTime Pumps[X]->LastFastRegen TDateTime Pumps[X]->LastFullRegen
| 098 | b | 62 | ?, [0-12] [1-20] plus [0-120] [20 or 22] and [0-130] [21 or 23] | Gets or writes regen history | $b?S | $A+9 +1Q
| 099 | c | 63 |  | Gets part of regen history. Gets value with each call. Cycles through 10 registers. | $cR | $A+4202
| 100 | d | 64 |  | ERASES ALL REGEN HISTORY!!! DO NOT SEND THIS COMMAND!!! | $dU | $A0
| 101 | e | 65 |  | gets one character with regen error code Use only after getting V in regen response @=no error B=warmup >60 minutes C=cooldown >5 hours D=roughing dP/dt < 2%/minute E=# of ROR cycles exceeded limit F=manual abort G=rough valve open >1 hour H=illegal state, software bug I=pump too warm to start Fast regen I*=pump not cooled to <50K, FastRegen not allowed J=2nd stage too cold to rough | $P01eF | $A@3, $AF5 |  | enum Pumps[X]->RegenErrorCode Possible responses: '@', 'B', 'C', 'F', 'G', 'I' | We don't have all these items.
| 102 | f | 66 | 1,2 | unknown. Gets data | $f1E $f2J | $A+0N $A+0N
| 103 | g | 67 |  | autozero pump TC gauge | P01gH | $G6 |  | Don't allow customer to do return error | Customer shouldn't be allowed to touch calibration of the VacCG
| 104 | h | 68 |  | autozero Aux TC gauge | P01hI | $G6 |  | Don't have | We don’t have.
Y | 105 | i | 69 | 0,1,2,? | clear/set/query Power Fail Recovery flag 0=PFR is OFF 1=PFR is ON 2=PFR when T2< limit is ON ?=gets PFR status | $P01i?H | $A0` | $i0K $i1H $i2I $I?: | enum Pumps[X]->PowerFailRecoveryType
Y | 106 | j | 6A | 0-59994,? | set or get pump delay to start of regen | $P01j30o $P01j?K | $A0 $A+30< |  | TDateTime Pumps[X]-> RegenStartDelay
Y | 107 | k | 6B |  | gets time in minutes left in current step | $P01kL | $A+0N |  | TDateTime Pumps[X]->StepTimeRemaining | We don’t always have this.
Y | 108 | l | 6C |  | gets number of failed purge cycles | $P01lM | $A+0N |  | Always returns zero | We don't have this.
Y | 109 | m | 6D |  | gets number of failed rate of rise cycles | $P01mN | $A+0N |  | Always returns zero | We don't have this.
Y | 110 | n | 6E |  | gets last measured rate of rise, micron/min | $P01nO | $A+0N |  | Always returns zero | We don't have this.
| 111 | o | 6F | 0,1,? | unknown function. Toggles on/off. | $o1R $0?\ | $A0 $A1c
| 112 | p | 70 | 0-99, ? | unknown function. Reads or sets value 0-99 | $p?] $p99M | $A+56D $A0
| 113 | q | 71 | 0-99, ? | unknown function. Reads or sets value 0-99 | $q?R $q60D | $A+50B $A0
Y | 114 | r | 72 | P,X | gets event count for autozero of TC gauges rP=pump TC, rX=auxiliary;modulo 256 (0-255) | $P01rPb | $A+0N |  | Always returns zero | We don't have this.
Y | 115 | s | 73 |  | gets event count of regen cycles, mod 256 | $P01sT | $A+0N |  | int Pumps[X]->RegenCycles return __int8
Y | 116 | t | 74 | ?,= | inquire or clear Power Failure Recovery flag. 0=no power failure 1=was in regen, now in cooldown 2=regeneration 3=pump on, in process to 17K 4=recovered from power failure 5=did not reach 17K in 20 min cooling, still on 6=above PFR temp setpoint, pump turned off | $P01t?U $P01t=S | $A0` $A0 |  | enum Pumps[X]->PowerFailureStatus | We don’t have all these results.
| 117 | u | 75 |  | gets byte with failure cause of pump (motor drive volts) 0=OK (30 hex) @=pump is ON (40 hex) P=no phase 1 volts (50 hex) `=no cryo power 2, both phases (60 hex) p=no phase 2 volts (70 hex) | $P01uV | $A0` |  | enum Pumps[X]->PumpFailureCause | We don’t have all these results. Replace P with Inverter failure
Y | 118 | v | 76 |  | gets regen flag condition, bit is on when TRUE (biased by 40HEX) 01H= waiting for rough valve 02H=purge gas fail detected 04H=heater failure detected 08H=fast regen has recovered from purge gas fail 10H=fast regen reverted to full regen 20H=fast regen has started | $P01vW | $AD7, $A@3 |  | int Pumps[X]->RegenStatus | We don't have all these results.
| 119 | w | 77 | 0 to 9999999999999, ? | unknown. Gets or sets data, probably clock hours. Data shifted modulo 65536. | $w?d $w262145Y $w?d | $A+284: $A0 $A+10
| 120 | x | 78 | 0 to 9999999999999, ? | unknown. Gets or sets data, probably clock hours. Data shifted modulo 65536. | $x?e $x9999999999999L $x?e | $A+6619 $A0 $A+40959f
| 121 | y | 79 | 0,1,? | Unknown. Queries and toggles function | $y?j $y0[ $y?j | $A1c $A0 $A0`
| 122 | z | 7A | 0,1,? | clear/set/query user keypad lockout state When z=1, user can only see Monitor and Service functions | $P01z?[ | $A0` |  |  | No keypad.
| 123 | { | 7B
| 124 | ¦ | 7C
| 125 | } | 7D
| 126 | ~ | 7E
| 127 | DEL | 7F
RESULT CODES
Y |  | A | 41 |  | understood, no power fail or reset
Y |  | B | 42 |  | understood, but reset occurred. Send $N00? command to clear to "A"
|  | C | 43
|  | D | 44
Y |  | E | 45 |  | invalid command, no reset
Y |  | F | 46 |  | invalid command, reset occurred |  |  |  | Response Codes Only
Y |  | G | 47 |  | OK command but can't act, no reset
Y |  | H | 48 |  | OK command but can't act, with reset
Y |  | I | 49 |  | OK command but can't act, serial lock, no reset
Y |  | J | 4A |  | OK command but can't act, serial lock, w/ reset
Y |  | Z | 5A |  | Comm fail; can't find this pump
NOTES:
Uses command set from manual 8040406, Fast Regen control module
Includes all commands from 8040410 manual
Sum of "Yes" | 30
Sum of "?" | 0

## Regen response (O)
Responses to O command to a pump module (ex: $P01O)
Indicates status of pump during a regen or cooldown operation
NOTE: These responses actually indicate where software flow has reached in a state diagram or flow chart
Multiple valid responses show that mutliple software paths lead to equivalent condition.
| RESPONSE | DESCRIPTION
| A,\ | Pump OFF
| B,C,E,^,] | pump in warmup
| D,F,G,Q,R | purge gas failure detected
| H,S | H=extended purge S=in repurge cycle [used with k and l pump module commands)
| I,J,K,T,a*,b*,j*,n* | rough to base pressure
| L | rate of rise
| M,N,c*,d*,o* | cooldown
| P | regen complete
| U* | beginning of FastRegen
| V | regen aborted
| W | delay restart
| X,Y | power failure
| Z | delay start
| O,[ | zeroing TC gauge
| f* | share regen wait (waiting for rough pump during multipump FastRegens)
| e* | repurge during FastRegen
| h* | purge coordinate wait state in FastRegen waiting for all pumps to get to repurge
| i* | rough coordinate wait state in FastRegen waiting for all pumps to begin roughing
| k* | purge gas fail, recovering pump failed purge gas test during FastRegen
| l*,m*,_*,r*,s*,t*,u*,v*,'* | pump in warmup

## Network Terminal
NETWORK TERMINAL COMMANDS |  |  |  |  | All commands begin with $N…
Need for AMJ eval? Y=yes, ?=maybe | Numeric | ASCII | HEX | PARAM | DESCRIPTION | EXAMPLE OF COMMAND (Commands should not have 00 [Net ID]) | EXAMPLE OF RESPONSE | PROPERTY(Unless noted otherwise TCryopumpSystem is the reference property) | EVENT
| 000 | NUL | 00 |  | Probably not used - first 32 ASCII codes
| 001 | SOH | 01
| 002 | STX | 02
| 003 | ETX | 03
| 004 | EOT | 04
| 005 | ENQ | 05
| 006 | ACK | 06
| 007 | BEL | 07
| 008 | BS | 08
| 009 | HT | 09
| 010 | LF | 0A
| 011 | VT | 0B
| 012 | FF | 0C
| 013 | CR | 0D
| 014 | SO | 0E
| 015 | SI | 0F
| 016 | DLE | 10
| 017 | DC1 | 11
| 018 | DC2 | 12
| 019 | DC3 | 13
| 020 | DC4 | 14
| 021 | NAK | 15
| 022 | SYN | 16
| 023 | ETB | 17
| 024 | CAN | 18
| 025 | EM | 19
| 026 | SUB | 1A
| 027 | ESC | 1B
| 028 | FS | 1C
| 029 | GS | 1D
| 030 | RS | 1E
| 031 | US | 1F
| 032 | SP | 20
| 033 | ! | 21
| 034 | " | 22
| 035 | # | 23
| 036 | $ | 24
| 037 | % | 25
| 038 | & | 26
| 039 | ' | 27
| 040 | ( | 28
| 041 | ) | 29
| 042 | * | 2A
| 042 | + | 2B
| 044 | , | 2C
| 045 | - | 2D
| 046 | . | 2E
| 047 | \ | 2F
| 048 | 0 | 30
| 049 | 1 | 31
| 050 | 2 | 32
| 051 | 3 | 33
| 052 | 4 | 34
| 053 | 5 | 35
| 054 | 6 | 36
| 055 | 7 | 37
| 056 | 8 | 38
| 057 | 9 | 39
| 058 | : | 3A
| 059 | ; | 3B
| 060 | < | 3C
| 061 | = | 3D
| 062 | > | 3E
? | 063 | ? | 3F | none | acknowledge NIT reset state, resets to normal | $N00?^ | $A0 | bool Reset
| 064 | @ | 40 | none | determines NIT type and rev level | $N00@] | $AMB03.011 | AnsiString TCryopumpSystem->RevLevel
| 065 | A | 41 | ? | NIT sends 11 char s/n | $N00A?^ | $A95E9501122 i | AnsiString TCryopumpSystem-SerialNumber
Y | 066 | B | 42 | returns 0-1048575 | returns dec # showing active pumps 0-20 binary Decimal # = sum of 2n where n is pump number from 0 to 19. Example: return for pumps 00, 01, and 02 connected is 1+2+4=7. | $N00Bc | $A 2c | bool Pump[X]->Active
| 067 | C | 43 | 1-5 | returns which pumps are in rough valve maps A-E | $N00C1R | $A 7h | bool Pumps[X]->RoughMap[Y] Where Y:=Enum(MapA-MapE)
| 068 | D | 44 | 1-5, 0-1048575 | accepts rough map # and pumps assigned | $N00D17K | $A0 | bool Pumps[X]->RoughMap[Y] Where Y:=Enum(MapA-MapE)
| 069 | E | 45 | none | Returns which pumps are assigned a rough map | $N00E` | $A 7h | bool Pumps[X]->RoughMap[Y] Where Y:=Enum(MapA-MapE)
| 070 | F | 46 | none | Returns which pumps are actively regenerating and are granted exclusive use of the rough pump | $N00Fg | $A 0a | bool Pumps[X]->LastRoughPosition
? | 071 | G | 47 | ?, 0-32767 | query or set NT password. 0=no password | $N00G?d | $A 0b | int Password
| 072 | H | 48
| 073 | I | 49
| 074 | J | 4A
| 075 | K | 4B
| 076 | L | 4C | returns 0-31 | returns rough map sets locked out. A=1, B=2, C=4, D=8, E=16. L may be sent every 5 seconds or less by host to retain control! | $N00Li | $A 314 $A 0a | bool Pumps[X]->LockoutMap[Y] Where Y:=Enum (MapA-MapE)
| 077 | M | 4D | 0-31 | Locks out map sets from rough valve use | $N00M31N | $A 314 | bool Pumps[X]->LockoutMap[Y] Where Y:=Enum (MapA-MapE)
| 078 | N | 4E | 0-31 | Frees map sets for rough valve use | $N00N31Q | $A0 | bool Pumps[X]->LockoutMap[Y] Where Y:=Enum (MapA-MapE)
Y | 079 | O | 4F | ?, =0, =1 | queries/clears/sets supervisor mode. Set=1. When Supervisor mode is set, Unless L received every 5 secs, remote lockout rough sets are cleared automatically. | $N00O=0[ $N00O?l | $A0 $A0` | Controlled by THostDecipher component
Y | 080 | P | 50 | returns 0-1048575 | returns decimal number indicating pumps (0-19) assigned to multipump regens. Same as X1 command below. | $N00Pm | $A 7h | bool Pumps[X]->RegenMap[Y] Where Y:=Enum (MapA-MapE)
Y | 081 | Q | 51 | 0-1048575 | accepts code to set pumps 0-19 in multipump regen set. Same as W1 command below. | $N00Q7f | $A0 | bool Pumps[X]->RegenMap[Y] Where Y:=Enum (MapA-MapE)
| 082 | R | 52
| 083 | S | 53
| 084 | T | 54
| 085 | U | 55
Y | 086 | V | 56 | ?, =0, =1 | query/clear/set Group Regen Lock flag for access to multipump regen on keypad | $N00V=1c $N00V?2 | $A0 $A1c | Controlled by THostDecipher component
Y | 087 | W | 57 | 1-5, 0-1048575 | accepts code to set pumps in multipump regen groups. Not completed if any pump cannot do Fast regen. | $NW17\ | $A0 | bool Pumps[X]->RegenMap[Y] Where Y:=Enum (MapA-MapE)
Y | 088 | X | 58 | 1-5 | returns code identifying pumps in multipump regen group (0-1048575) | $N00X1g | $A 7h | bool Pumps[X]->RegenMap[Y] Where Y:=Enum (MapA-MapE)
Y | 089 | Y | 59 | 1-5, [0,2,3] | specifies multipump regen group, aborts/starts full/starts fast regen | $N00Y12[ | $A0 | bool Pumps[X]->RunMode
| 090 | Z | 5A
| 091 | [ | 5B
| 092 | \ | 5C
| 093 | ] | 5D
| 094 | ^ | 5E
| 095 | _ | 5F
| 096 | ` | 60
| 097 | a | 61
| 098 | b | 62
| 099 | c | 63
| 100 | d | 64
| 101 | e | 65
| 102 | f | 66
Y | 103 | g | 67 | ?, 0-1 | allow or lockout competing serial ports. Query returns 0-3 to identify owning port, 0=no lockout, 1=host, 2=service, 3=auxiliary RS-232 port | $N00g17 $N00g?E | $A0 $A1c | Controlled by THostDecipher component | Allow 0 and 1 since we don’t have additional serial port access.
| 104 | h | 68 |  | returns code identifying pumps in [unknown] group (0-1048575)
| 105 | i | 69 | 0-1048575 | sets pumps to be monitored by j command |  |  |  | 19 bit wide field
| 106 | j | 6A | 0-19 or 00-19 | get 8 characters with condensed status info |  |  | pg 3-15 "8040744 On-Board IS sublime routine reference 8040744.pdf"
| 107 | k | 6B | $N00
| 108 | l | 6C | ?,(8char) | Query or set the network terminal identification string | $NlA?j | $ANT002 | AnsiString TerminalName
| 109 | m | 6D
Y | 110 | n | 6E | ?, =0, =1 | query/on/off full rough coordination | $N00n=18 $N00n?J | $A0 $A1c | bool FullRoughCoord
Y | 111 | o | 6F | ?, =0, =1 | query/on/off power fail coordination for rough manifolds. Command "n" must be on for function. | $N00o=19 $N00o?M | $A0 $A1c | bool PowerFailCoord
| 112 | p | 70
| 113 | q | 71
| 114 | r | 72
| 115 | s | 73
| 116 | t | 74
| 117 | u | 75
| 118 | v | 76
| 119 | w | 77
| 120 | x | 78
| 121 | y | 79
| 122 | z | 7A
| 123 | { | 7B
| 124 | ¦ | 7C
| 125 | } | 7D
| 126 | ~ | 7E
| 127 | DEL | 7F
RESULT CODES | [This is first character after $ of answer from Network Terminal]
Y |  | A | 41 |  | understood, no power fail or reset
Y |  | B | 42 |  | understood, but reset occurred. Send $N00? command to clear to "A"
|  | C | 43
|  | D | 44
Y |  | E | 45 |  | invalid command, no reset
Y |  | F | 46 |  | invalid command, reset occurred
Y |  | G | 47 |  | OK command but can't act, no reset
Y |  | H | 48 |  | OK command but can't act, with reset
Y |  | I | 49 |  | OK command but can't act, serial lock, no reset
Y |  | J | 4A |  | OK command but can't act, serial lock, w/ reset
Y |  | Z | 5A |  | Comm fail; can't find this pump
Sum of "Yes" | 20
Sum of "?" | 0

## pump summary
@ | gets module type and software rev info
A | pump OFF/ON, status | 0-1, ?
B | Pump TC OFF/ON, status | 0-1, ?
C | AUX TC OFF/ON, status | 0-1, ?
D | CLOSE/OPEN rough valve, status | 0-1, ?
E | CLOSE/OPEN purge valve, status | 0-1, ?
F | [unknown function;undocumented] Believed to turn 1st stage heater function on and off ??? | 0-1, ?
G | [unknown function;undocumented] Believed to turn 2nd stage heater function on and off ??? | 0-1, ?
H | Sets temp control of 1st stage; 0 = "off" | 0-320, ?
I | Sets temp control of 2nd stage; 0= "off" -undocumented | 0-30, ?
J | sends back 1st stage temp | none
K | sends back 2nd stage temp | none
L | send back pump TC pressure | none
M | send back AUX TC pressure | none
N | 0=abort, 1=start regen, 2=start fast regen | 0-2
O | sends back current regen step | none
P | sets or reads regen parameters | 0-6,A,G,S, 5-digit number, ?
Q | Rough valve interlock; | none, ?
R | UNDOCUMENTED R0=pump TC volts, R1= Aux TC volts R2=T1 volts, R3=T2 volts | 0-3
S | Sends back status indicators | 1-3
T | Programs setpoint relay 1 or 2 | 1-2 0-8,ABCF 4 digit number ?,0,1,2,8
U | gets or writes diode millivolts vs temperature | 1-9, ?
V | set serial number, pump name, etc | A?, Q?, A,Q, D, D?, C, C?
W | Gets memory error code from initialization
X | unknown. No response to $X, $X?, or $X1?
Y | gets or sets elapsed operating hours, 0-65535 | ?, 0-65535
Z | gets (or sets )number of Regen cycles completed | ?,0-999
[ | restore relays to automatic settings from manual override mode | B1,B2
\
]
^
_
`
a | a=how long since last full regen (0-65000) a2=how long since last fast regen (in hours) | none or 2
b | Gets or writes regen history | ?, [0-12] [1-20] ...
c | Gets part of regen history. Gets value with each call. Cycles through 10 registers.
d | ERASES ALL REGEN HISTORY!!! DO NOT SEND THIS COMMAND!!!
e | gets one character with regen error code
f | unknown. Gets data | 1,2
g | autozero pump TC gauge
h | autozero Aux TC gauge
i | clear/set/query Power Fail Recovery flag | 0,1,2,?
j | set or get pump delay to start of regen | 0-59994,?
k | gets time in minutes left in current step
l | gets number of failed purge cycles
m | gets number of failed rate of rise cycles
n | gets last measured rate of rise, micron/min
o | unknown function. Toggles on/off. | 0,1,?
p | unknown function. Reads or sets value 0-99 | 0-99, ?
q | unknown function. Reads or sets value 0-99 | 0-99, ?
r | gets event count for autozero of TC gauges rP=pump TC, rX=auxiliary;modulo 256 (0-255) | P,X
s | gets event count of regen cycles, mod 256
t | inquire or clear Power Failure Recovery flag. | ?,=
u | gets byte with failure cause of pump (motor drive volts)
v | gets regen flag condition, bit is on when TRUE (biased by 40HEX)
w | unknown. Gets or sets data, probably clock hours. Data shifted modulo 65536. | 0 to 9999999999999, ?
x | unknown. Gets or sets data, probably clock hours. Data shifted modulo 65536. | 0 to 9999999999999, ?
y | Unknown. Queries and toggles function | 0,1,?
z | clear/set/query user keypad lockout state When z=1, user can only see Monitor and Service functions | 0,1,?
{
¦
}
~
DEL
A | understood, no power fail or reset
B | understood, but reset occurred. Send $N00? command to clear to "A"
C
D
E | invalid command, no reset
F | invalid command, reset occurred
G | OK command but can't act, no reset
H | OK command but can't act, with reset
I | OK command but can't act, serial lock, no reset
J | OK command but can't act, serial lock, w/ reset
Z | Comm fail; can't find this pump

## controller summary
? | none | acknowledge NIT reset state, resets to normal
@ | none | determines NIT type and rev level
A | ? | NIT sends 11 char s/n
B | returns 0-1048575 | returns dec # showing active pumps 0-20 binary
C | 1-5 | returns which pumps are in rough valve maps A-E
D | 1-5, 0-1048575 | accepts rough map # and pumps assigned
E | none | Returns which pumps are assigned a rough map
F | none | Returns which pumps are actively regenerating and are granted exclusive use of the rough pump
G | ?, 0-32767 | query or set NT password. 0=no password
H
I
J
K
L | returns 0-31 | returns rough map sets locked out.
M | 0-31 | Locks out map sets from rough valve use
N | 0-31 | Frees map sets for rough valve use
O | ?, =0, =1 | queries/clears/sets supervisor mode. Set=1.
P | returns 0-1048575 | returns decimal number indicating pumps (0-19) assigned to multipump regens. Same as X1 command below.
Q | 0-1048575 | accepts code to set pumps 0-19 in multipump regen set. Same as W1 command below.
R
S
T
U
V | ?, =0, =1 | query/clear/set Group Regen Lock flag for access to multipump regen on keypad
W | 1-5, 0-1048575 | accepts code to set pumps in multipump regen groups.
X | 1-5 | returns code identifying pumps in multipump regen group (0-1048575)
Y | 1-5, [0,2,3] | specifies multipump regen group, aborts/starts full/starts fast regen
Z
[
\
]
^
_
`
a
b
c
d
e
f
g | ?, 0-1 | allow or lockout competing serial ports.
h |  | returns code identifying pumps in [unknown] group (0-1048575)
i | 0-1048575 | sets pumps to be monitored by j command
j | 0-19 or 00-19 | get 8 characters with condensed status info
k | $N00
l | ?,(8char) | Query or set the network terminal identification string
m
n | ?, =0, =1 | query/on/off full rough coordination
o | ?, =0, =1 | query/on/off power fail coordination for rough manifolds. Command "n" must be on for function.
p
q
r
s
t
u
v
w
x
y
z
{
¦
}
~
DEL
A |  | understood, no power fail or reset
B |  | understood, but reset occurred. Send $N00? command to clear to "A"
C
D
E |  | invalid command, no reset
F |  | invalid command, reset occurred
G |  | OK command but can't act, no reset
H |  | OK command but can't act, with reset
I |  | OK command but can't act, serial lock, no reset
J |  | OK command but can't act, serial lock, w/ reset
Z |  | Comm fail; can't find this pump